IDEA

Yes. I understand the architecture now, and I actually prefer your version.

I was organizing primarily by quality-management function. You're proposing that the user-facing navigation should instead be organized by what is physically being constructed, while the quality-management process becomes the standardized workflow inside every construction activity.

That's much more useful on site.

The question you will actually have at 7:00 AM isn't:

“Which part of my quality-management framework should I study today?”

It will be:

“They're pouring the foundations today. What exactly do I need to do?”

You should be able to open the system and go:

SUBSTRUCTURE → FOUNDATIONS → REINFORCED CONCRETE → FOUNDATION CONCRETE

and everything necessary to execute quality control for that activity is there.

The architecture

I'd structure the system roughly like this:

PROJECT QUALITY FIELD SYSTEM

→ 1. Site Preparation / Earthworks
→ 2. Substructure
→ 3. Superstructure
→ 4. Building Envelope
→ 5. Interior Construction & Finishes
→ 6. Mechanical Services
→ 7. Electrical Services
→ 8. Fire/Life-Safety Systems
→ 9. External Works / Civil
→ 10. Testing, Commissioning & Closeout

We can refine those divisions once we know the actual Hochelaga scope.

Then we drill downward.

For example:

SUBSTRUCTURE

→ Excavation
→ Subgrade preparation
→ Granular fill
→ Foundations
→ Foundation drainage
→ Waterproofing
→ Foundation insulation
→ Backfilling

And Foundations could become:

FOUNDATIONS

→ Formwork
→ Reinforcing steel
→ Embedded items
→ Pre-pour inspection
→ Concrete placement
→ Concrete testing
→ Curing/protection
→ Formwork removal
→ Finished concrete inspection

Now here's the important part:

Every lowest-level activity gets the SAME quality workflow

For example:

SUBSTRUCTURE → FOUNDATIONS → CONCRETE PLACEMENT

01 — Requirements

What governs this activity?

And importantly, as you said, where do I obtain those requirements?

So this wouldn't merely say:

“Check the specification.”

It would guide you:

Check:

- contract drawings;

- applicable specification section;

- Plan Qualité;

- applicable PIE/PRIE;

- approved shop drawings;

- approved concrete mix design;

- approved execution procedure/method statement;

- technical directives/revisions;

- applicable standards referenced by the contract;

- manufacturer requirements where applicable.

Then once you're actually at CRT, we replace/generalize those references with the actual Hochelaga document numbers and locations.

02 — Planning

What must happen before this activity occurs?

For concrete, for example:

Construction schedule/look-ahead reviewed → pour location identified → required inspection points identified → hold/witness points identified → predecessor work inspected → laboratory/testing coordinated → manpower identified → equipment available → weather reviewed → concrete delivery coordinated → required approvals obtained → inspection timing agreed with field personnel.

Essentially:

“What must I arrange so quality doesn't become an afterthought when the concrete truck arrives?”

03 — Document Control

Am I controlling the work against the correct information?

Current IFC drawing revision?
Latest structural details?
Approved shop drawings?
Latest technical directives incorporated?
Superseded drawings removed/identified?
Approved mix design current?
Approved procedure current?

This prevents one of the stupidest but most consequential construction-quality failures:

Perfectly constructing the wrong revision.

04 — Material Control

For concrete:

Approved concrete mix?
Correct concrete class?
Supplier approved?
Delivery ticket matches approved mix?
Reinforcement already approved/verified?
Admixtures compliant?
Material certifications available where required?
Material traceability maintained?

For another activity, this section changes completely.

If you're doing insulation:

approved insulation type → manufacturer → thickness → thermal properties → fire properties → batch/product identification → condition at delivery → storage requirements.

Same system. Different technical content.

05 — Inspection / Testing

Now we get into the physical QC.

For foundation concrete this might become:

Before placement

Formwork → dimensions → elevations → reinforcement → spacing → cover → laps → embeds → penetrations → cleanliness → substrate → water/debris → accessibility → pre-pour acceptance.

During placement

Delivery tickets → mix → concrete temperature → slump → air where applicable → test specimens → placement technique → lift depth → consolidation → segregation → cold-joint risk → embeds maintained → formwork behaviour.

After placement

Finish → curing → protection → damage → stripping → surface condition → dimensions → defects → test results.

And we explicitly identify:

Hold Point
Witness Point
Surveillance Point
Review Point

where the actual PIE/PRIE requires them.

06 — Records / Objective Evidence

This answers:

“What evidence should exist when I'm done?”

For example:

Inspection form; PIE/PRIE record; photographs; concrete tickets; test results; cylinder identification; measurements; annotated drawing showing inspected location; date/time; weather where relevant; personnel/contractor; applicable revision; observations; signatures/approvals where required.

And we'll establish a rule:

Every record should answer WHAT + WHERE + WHEN + AGAINST WHAT REQUIREMENT + RESULT + EVIDENCE.

That makes your work traceable.

07 — NC / Deficiency

Then:

What could constitute an écart, deficiency or non-conformity for this activity?

Examples for concrete:

Wrong mix delivered; insufficient cover; incorrect reinforcement spacing; missing embed; incorrect dimensions; concrete outside specified acceptance parameters; honeycombing; cracking; failed strength result; placement performed before required inspection release.

But importantly, your personal system shouldn't autonomously determine what CRT/HQ formally classifies as an NCR. It guides you to recognize and document the condition, and the project's approved quality procedure determines formal classification/escalation.

08 — Corrective Action

For every common failure mode:

Stop/control affected work if required → protect/identify affected area → notify appropriate person → establish disposition through authorized process → implement approved correction → retain evidence.

And we can provide examples.

Missing rebar before pour?

Much easier: correct reinforcement → reinspect → release.

Missing rebar discovered after pour?

Completely different situation: don't improvise a repair → document → identify exact location → escalate → engineering/professional disposition → approved corrective method → implementation → verification.

That distinction is precisely the kind of thing your system should remind you of.

09 — Verification

The system asks:

Was the approved correction actually performed?

Not:

“Foreman says it's fixed. 👍”

😂

Go back.

Inspect it.

Measure/test where applicable.

Photograph it.

Compare against approved disposition.

Record the verification.

10 — Closure

Now ask:

Can this quality item legitimately be closed?

Correction complete?
Reinspection passed?
Required professional/client acceptance obtained?
Supporting records attached?
NC/deficiency tracker updated?
Outstanding actions = zero?
Traceability complete?

Only then:

CLOSED.

11 — Reporting / Analysis

Then we move from individual inspection to management information.

What happened?
How many deficiencies?
Any NCRs?
Recurring issue?
Same subcontractor repeatedly?
Same failure type?
Potential systemic problem?
Schedule impact?
Corrective actions aging?
Anything Responsable qualité should know?

This is particularly relevant because CRT explicitly wants you to compile, analyze and interpret NC data/statistics.

12 — QUALITY COMPLETENESS CHECK

And this is your final safeguard.

At the bottom of every workflow:

Before Work

☐ Requirements identified
☐ Correct documents/revisions
☐ Materials approved
☐ Procedure approved where required
☐ Prerequisite work accepted
☐ PIE/PRIE reviewed
☐ Hold/witness points identified
☐ Inspection/testing coordinated

During Work

☐ Required inspections completed
☐ Required tests witnessed/performed
☐ Acceptance criteria verified
☐ Deviations documented
☐ Photographic/objective evidence collected
☐ Required communication performed

Before Concealment / Progression

☐ Work accepted for next activity
☐ Outstanding deficiencies controlled
☐ Required records complete
☐ Required releases obtained

After Work

☐ Inspection records finalized
☐ Test results received/reviewed
☐ NCs/deficiencies tracked
☐ Corrective work verified
☐ Items closed appropriately
☐ Quality register updated
☐ Responsable qualité informed as required
☐ Evidence filed and traceable

That gives you the “Have I forgotten anything?” button.

And this makes the system scalable

Imagine your interface eventually looking like:

🏗️ SUBSTRUCTURE
→ Excavation
→ Subgrade
→ Granular fill
→ Foundations
→ Foundation waterproofing
→ Foundation drainage
→ Backfill

🏢 SUPERSTRUCTURE
→ Reinforced concrete
→ Structural steel
→ Masonry
→ Floor systems
→ Stairs

🧱 ENVELOPE
→ Exterior walls
→ Air barrier
→ Vapour barrier
→ Insulation
→ Cladding
→ Windows
→ Exterior doors
→ Roofing
→ Sealants

⚙️ MECHANICAL
→ Plumbing
→ Drainage
→ HVAC
→ Ductwork
→ Piping
→ Equipment
→ Insulation
→ Controls
→ Testing

⚡ ELECTRICAL
→ Conduits
→ Cable trays
→ Equipment
→ Grounding/bonding
→ Building electrical
→ Penetrations
→ Testing

🔥 FIRE/LIFE SAFETY
→ Firestopping
→ Fire-rated assemblies
→ Fire alarm interfaces
→ Emergency systems
→ etc.

And every time you click one of those activities, underneath is:

Requirements → Planning → Document Control → Material Control → Inspection/Test → Records → NC/Deficiency → Corrective Action → Verification → Closure → Reporting/Analysis → Quality Check

That's the architecture.

And your clarification about its purpose is extremely important:

This is NOT the Hochelaga QMS.

CRT/Hydro-Québec owns the official project quality system.

This is better described as your Quality Field Execution System or Inspector Quality Playbook.

Its job is to tell Emmanuel:

“For this construction activity, here are all the quality dimensions you should think through. Now obtain the authoritative requirements, forms, acceptance criteria and procedures from CRT/Hydro-Québec and execute accordingly.”

That means when CRT teaches you something that differs from our generic preparation, CRT wins immediately. We modify your playbook.

And that's actually how the system becomes increasingly powerful.

Day 1

Generic best-practice framework.

Week 2

You know CRT's actual Plan Qualité, software, document hierarchy, PIE structure and communication channels.

→ Update system.

Month 1

You've seen how Hochelaga actually handles inspections, NCs, material approvals and technical changes.

→ Update system.

Month 3

You've accumulated actual failure modes, common subcontractor problems, useful inspection sequences and project-specific acceptance requirements.

→ Update system.

Eventually it stops being something we prepared theoretically and becomes your accumulated operating knowledge of Hochelaga.

And that is what could make you increasingly independent: not because the app makes decisions for you, but because it prevents you from relying on memory and improvisation for process completeness.

You still exercise judgment. You still ask when uncertain. You still report to the Responsable qualité. You still follow CRT/HQ's authority structure.

But you become much less likely to forget:

“Shit, I should have checked that before they covered it.”

That's exactly the system I now understand you want us to build.

BUILD 1 — HOCHELAGA QUALITY FIELD EXECUTION SYSTEM

Construction Quality Work Breakdown Structure — v1.0

0. PROJECT-WIDE QUALITY CONTROLS

This section is different from the physical work packages. These workflows apply across every construction activity.

0.1 Daily Quality Planning

- Daily construction activity review

- 3-week/look-ahead review

- Inspection/test forecasting

- Hold/witness-point planning

- Pre-concealment planning

- Quality priorities for the day

0.2 Document Control

- Plans

- Devis/specifications

- Drawing revisions

- Shop drawings

- Technical data sheets

- RFIs/QMTs/technical questions

- Professional directives

- Change documents

- Superseded-document control

0.3 Material/Submittal Control

- Technical submittals

- Product approvals

- Substitutions

- Material procurement status

- Receiving inspections

- Storage/protection

- Material traceability

0.4 Inspection & Test Coordination

- PIE/PRIE review

- Inspection notification

- Hold points

- Witness points

- Testing coordination

- Laboratory coordination

- Inspection releases

0.5 Quality Records & Evidence

- Inspection records

- Test records

- Photographs

- Measurement records

- Location identification

- Traceability

- Filing/indexing

0.6 Deficiency Management

- Identification

- Documentation

- Assignment

- Follow-up

- Reinspection

- Closure

0.7 Non-Conformity Management

- Detection

- Control of affected work

- NCR initiation/escalation

- Disposition

- Corrective action

- Verification

- Closure

0.8 Technical Change Control

- New/revised requirement

- Impact identification

- Field communication

- Implementation verification

- Documentation

0.9 Quality Reporting & Analysis

- Daily quality reporting

- Open-item status

- NC statistics

- Deficiency statistics

- Aging

- Recurrence

- Trend analysis

- Quality risks

- Weekly reporting

These become our universal supporting workflows.

Now the physical building.

1. SITEWORK & EARTHWORKS

1.1 Existing Conditions

- Existing-condition survey

- Existing utilities

- Protection of existing structures/services

- Demolition/removals where applicable

1.2 Survey & Layout

- Benchmarks

- Control points

- Building axes

- Elevations

- Excavation layout

- Foundation layout

1.3 Excavation

- Excavation limits

- Depth/elevation

- Slopes/shoring interfaces

- Excavated material

- Groundwater

- Bottom-of-excavation condition

- Over-excavation

- Unsuitable soils

1.4 Subgrade

- Subgrade condition

- Elevation

- Bearing/acceptability

- Proofing/testing where required

- Remediation

1.5 Granular Materials

- Material approval

- Placement

- Lift thickness

- Moisture

- Compaction

- Density testing

- Elevations

1.6 Backfill

- Approved material

- Placement

- Lift control

- Compaction

- Testing

- Protection of foundations/services

1.7 Site Drainage

- Temporary drainage

- Permanent drainage

- Slopes

- Drainage structures

- Connections

2. SUBSTRUCTURE

This takes us from prepared ground through the completed below-grade building.

2.1 Foundation Formwork

- Layout

- Dimensions

- Elevations

- Alignment

- Stability

- Cleanliness

- Release agents

- Openings

2.2 Foundation Reinforcement

- Bar identification

- Size

- Spacing

- Quantity

- Position

- Cover

- Laps/splices

- Anchorage

- Chairs/supports

- Cleanliness

- Dowels

2.3 Embedded Items

- Anchor bolts

- Sleeves

- Inserts

- Plates

- Conduits

- Openings

- Waterstops

- Mechanical/electrical embeds

2.4 Foundation Concrete

- Pre-pour inspection

- Approved mix

- Delivery

- Concrete temperature

- Slump

- Air content where applicable

- Sampling/cylinders

- Placement

- Consolidation

- Finishing

- Construction joints

- Cold-weather/hot-weather controls

- Curing

- Protection

- Test results

2.5 Foundation Concrete Acceptance

- Form removal

- Surface inspection

- Honeycombing

- Voids

- Cracking

- Dimensions

- Elevations

- Strength results

- Repair requirements

2.6 Foundation Walls

Same major controls as reinforced concrete, but treated separately because wall geometry, penetrations, waterstops and waterproofing interfaces become particularly important.

2.7 Slab-on-Grade

- Subbase

- Vapour barrier

- Insulation

- Reinforcement

- Embeds

- Elevations

- Concrete

- Finishing

- Flatness/levelness where specified

- Joints

- Curing

- Protection

2.8 Below-Grade Waterproofing

- Substrate

- Approved system

- Primer

- Membrane

- Seams/laps

- Corners

- Penetrations

- Terminations

- Repairs

- Protection board

2.9 Foundation Insulation

- Product

- Thickness

- Attachment

- Continuity

- Joints

- Damage

- Interface with waterproofing

2.10 Foundation Drainage

- Drain type

- Location/elevation

- Slope

- Filter fabric

- Granular surround

- Connections

- Cleanouts

- Protection

2.11 Backfill Against Structure

A particularly useful interface workflow because perfectly acceptable backfill operations can still damage waterproofing, insulation, drains or foundation walls.

3. SUPERSTRUCTURE

We should support multiple structural systems because we don't yet want to assume exactly what remains on Hochelaga.

3.1 Cast-in-Place Concrete

- Formwork

- Reinforcement

- Embeds

- Pre-pour

- Placement

- Testing

- Curing

- Post-pour inspection

3.2 Structural Steel — Materials

- Steel identification

- Certifications

- Approved shop drawings

- Member identification

- Condition on receipt

- Storage

3.3 Structural Steel — Erection

- Member location

- Orientation

- Alignment

- Elevation

- Plumbness

- Temporary bracing

- Connections

3.4 Bolted Connections

- Bolt type

- Installation

- Tightening

- Inspection/testing

- Connection completeness

3.5 Welding

- Approved procedures

- Welder qualifications

- Joint preparation

- Welding conditions

- Visual inspection

- NDT where required

- Repair

3.6 Steel Protection

- Galvanizing

- Protective coatings

- Fireproofing

- Damage/repair

3.7 Structural Masonry

- Blocks

- Mortar

- Reinforcement

- Grout

- Anchors

- Lintels

- Control joints

- Alignment/plumb

- Testing

3.8 Precast Elements — if applicable

- Fabrication documentation

- Receiving

- Storage

- Erection

- Connections

- Grouting

- Alignment

- Damage/repair

4. BUILDING ENVELOPE

This deserves substantial attention because failures here can become expensive after completion.

4.1 Exterior Wall Assemblies

4.2 Air Barrier

- Substrate

- Product

- Continuity

- Seams

- Transitions

- Penetrations

- Openings

- Repairs

4.3 Vapour Barrier

4.4 Thermal Insulation

- Product/type

- Thickness

- Continuity

- Fastening

- Gaps

- Compression

- Moisture/damage

4.5 Exterior Sheathing

4.6 Exterior Masonry/Veneer

- Materials

- Mortar

- Anchors/ties

- Air space

- Flashing

- Weep holes

- Joints

- Alignment

- Cleaning

4.7 Exterior Cladding/Panels

- Approved system

- Substructure

- Fasteners

- Alignment

- Joints

- Flashing

- Interfaces

4.8 Windows/Glazing

- Approved units

- Openings

- Anchoring

- Alignment

- Flashing

- Air/water seals

- Sealants

- Glass

- Testing where required

4.9 Exterior Doors

- Frames

- Anchoring

- Door installation

- Hardware

- Weather seals

- Thresholds

- Operation

4.10 Sealants

- Product compatibility

- Joint preparation

- Backer rod

- Dimensions

- Primer

- Application

- Adhesion

- Finish

5. ROOFING

I would make this a first-class system rather than burying it under envelope.

5.1 Roof Deck/Substrate

5.2 Vapour/Air Control Layer

5.3 Roof Insulation

- Product

- Thickness

- Layers

- Staggering

- Attachment

- Slopes

5.4 Roofing Membrane

- Product

- Substrate

- Application

- Laps

- Seams

- Adhesion

- Fastening

5.5 Flashings & Terminations

5.6 Roof Penetrations

Especially mechanical/electrical penetrations.

5.7 Curbs & Equipment Interfaces

5.8 Roof Drains

5.9 Roofing Testing/Final Inspection

- Membrane integrity

- Drainage

- Water testing/electronic testing if specified

- Deficiency survey

- Repairs

6. INTERIOR ARCHITECTURAL CONSTRUCTION

6.1 Interior Masonry

6.2 Metal Stud Framing

- Stud type/gauge

- Spacing

- Tracks

- Anchoring

- Openings

- Reinforcement/backing

- Coordination with services

6.3 Interior Insulation

- Acoustic

- Thermal

- Fire-related where applicable

6.4 Gypsum Board

- Board type

- Layers

- Orientation

- Fasteners

- Joints

- Moisture/fire-rated requirements

6.5 Fire-Rated Assemblies

- Assembly identification

- Required rating

- Components

- Continuity

- Penetrations

- Documentation

6.6 Interior Doors & Frames

6.7 Door Hardware

Particularly important where fire/life safety requirements apply.

6.8 Ceilings

- Suspension

- Grid

- Tiles/panels

- Coordination with MEP

- Access panels

6.9 Access Panels

7. FINISHES

7.1 Concrete Floor Preparation

7.2 Floor Finishes

- Tile

- Resilient flooring

- Epoxy/coatings

- Other specified systems

7.3 Wall Finishes

7.4 Painting/Coatings

- Surface preparation

- Approved coating system

- Environmental conditions

- Application

- Thickness where specified

- Finish

7.5 Architectural Sealants

7.6 Specialty Finishes

7.7 Final Architectural Deficiency Inspection

8. MECHANICAL SERVICES

This should be divided by systems, because that's how you'll encounter it in the field.

8.1 Plumbing — Domestic Water

8.2 Sanitary Drainage

8.3 Storm Drainage

8.4 Process/Equipment Piping — where applicable

For each piping system:

- approved material;

- routing;

- size;

- joints;

- supports;

- slopes;

- valves;

- identification;

- penetrations;

- pressure/leak testing;

- insulation.

8.5 HVAC Ductwork

- Material

- Routing

- dimensions

- joints

- supports

- sealing

- access

- dampers

- coordination

8.6 HVAC Equipment

- Equipment approval

- receiving

- location

- supports

- clearances

- vibration isolation

- connections

- access/maintenance clearances

8.7 Mechanical Insulation

8.8 Mechanical Controls/BAS Interfaces

8.9 Mechanical Penetrations

8.10 Mechanical Testing

- Pressure tests

- Leak tests

- flushing

- cleaning

- balancing interfaces

8.11 Mechanical Identification

- Labels

- equipment tags

- pipe identification

- flow arrows

9. ELECTRICAL BUILDING SERVICES

Important boundary: this is our building-quality framework, not an attempt to make you an electrical engineer or substitute for qualified electrical inspection.

9.1 Conduits/Raceways

9.2 Cable Trays

9.3 Supports/Hangers

9.4 Electrical Equipment Installation

- Approved equipment

- location

- anchorage

- clearances

- physical installation

- environmental protection

9.5 Building Distribution Interfaces

9.6 Grounding/Bonding — within assigned inspection scope

9.7 Lighting

9.8 Emergency Lighting

9.9 Electrical Penetrations

9.10 Identification/Labels

9.11 Electrical Testing Interfaces

For specialized electrical acceptance criteria, our system should explicitly tell you:

Verify applicable PIE/PRIE and coordinate with authorized electrical specialist.

That prevents false autonomy.

10. FIRE & LIFE-SAFETY CONSTRUCTION

This is one area where documentation and pre-concealment control should be particularly rigorous.

10.1 Fire-Rated Walls

10.2 Fire-Rated Floors/Ceilings

10.3 Firestopping

- Approved system

- penetration type

- opening size

- penetrating item

- annular space

- backing

- sealant/product

- depth/thickness

- identification

- photographic traceability

10.4 Fire/Smoke Dampers

10.5 Fire-Rated Doors

10.6 Fire Alarm Physical Installation Interfaces

10.7 Emergency/Life-Safety Interfaces

10.8 Fire Protection Systems — if applicable

- piping

- supports

- heads/devices

- testing interfaces

11. MULTIDISCIPLINARY INTERFACES

I want this as a dedicated section because many defects occur between trades rather than within one trade.

11.1 Structural ↔ Architectural

11.2 Structural ↔ Mechanical

11.3 Structural ↔ Electrical

11.4 Envelope ↔ Mechanical

11.5 Envelope ↔ Electrical

11.6 Architectural ↔ MEP

11.7 Penetrations

A universal workflow:

opening → sleeve → service → waterproofing/air barrier → insulation → firestop → finish

11.8 Embedded Items

11.9 Equipment Bases/Housekeeping Pads

11.10 Access & Maintainability

Can equipment actually be accessed, removed, maintained and operated as required?

11.11 Trade Coordination / Congestion

This section could become exceptionally useful at Hochelaga because a substation building naturally involves significant interfaces between building work and electrical/mechanical equipment.

12. EXTERNAL WORKS

12.1 Underground Services

12.2 Utility Trenches

12.3 Manholes/Catch Basins/Structures

12.4 Exterior Drainage

12.5 Granular Base/Subbase

12.6 Curbs

12.7 Concrete Exterior Works

12.8 Asphalt

12.9 Site Restoration

12.10 Fencing/Gates — if applicable

13. TESTING, COMMISSIONING & SYSTEM ACCEPTANCE

13.1 Test Readiness

13.2 Test Documentation

13.3 Mechanical Testing

13.4 Electrical Testing Interfaces

13.5 Building Envelope Testing

13.6 Functional Testing

13.7 Equipment Start-Up

13.8 Integrated/System Testing — where applicable

13.9 Failed-Test Management

13.10 Retesting

13.11 Acceptance Evidence

14. DEFICIENCIES, COMPLETION & CLOSEOUT

14.1 Preparatory Deficiency Review

14.2 Formal Deficiency Survey

14.3 Deficiency Classification

14.4 Assignment

14.5 Corrective Work

14.6 Reinspection

14.7 Closure

14.8 Outstanding NC Closure

14.9 Outstanding Test Results

14.10 Redlines / As-Builts

14.11 O&M Documentation

14.12 Certificates / Technical Records

14.13 Warranties

14.14 Final Quality Records

14.15 Turnover / Acceptance

The universal engine underneath EVERY activity

Now we freeze this.

Whether you click:

Excavation

or

Foundation Reinforcement

or

Roofing Membrane

or

HVAC Ductwork

or

Firestopping

the page underneath always follows:

01 — REQUIREMENTS

What governs the work + where do I obtain it?

02 — PLANNING

What must I anticipate/coordinate before work begins?

03 — DOCUMENT CONTROL

Am I using the correct approved information?

04 — MATERIAL CONTROL

Are the correct approved materials available, traceable, protected and actually being used?

05 — INSPECTION & TESTING

Before work → during work → before concealment → after completion.

06 — RECORDS & OBJECTIVE EVIDENCE

What proves what happened?

07 — NC / DEFICIENCY

What can go wrong and how is affected work controlled?

08 — CORRECTIVE ACTION

How does an identified problem move toward an authorized resolution?

09 — VERIFICATION

How do I prove the correction worked?

10 — CLOSURE

What conditions must exist before I call this complete?

11 — REPORTING & ANALYSIS

What needs tracking, reporting, trending or escalating?

12 — QUALITY COMPLETENESS CHECK

Did I close every quality loop?

One more feature: three levels of information

When we build each module, I want to distinguish information visually:

🔵 PROJECT REQUIREMENT
Something you must obtain from CRT/Hydro-Québec documentation. We do not invent it.

⚪ GOOD-PRACTICE CONTROL
Something that helps you perform systematically but isn't automatically a contractual requirement.

🟠 ESCALATE / VERIFY
Something where you shouldn't make an independent technical/contractual determination without checking the applicable document or authorized person.

That will protect you from one of the dangers of building a system this comprehensive: becoming confidently wrong because our generic reference says X while Hochelaga requires Y.

ACTUAL BUILD PROCESS

Yes. Now that we've explicitly decided not to build a CRT/Hochelaga QMS, Builds 3–6 become much cleaner. Builds 1–2 created the knowledge; Builds 3–6 are about turning that knowledge into something you can actually use quickly in the field.

I would define them like this:

Build 3 = Connect it.
Build 4 = Make it bilingual.
Build 5 = Make it usable in the field.
Build 6 = Make it fast, clean and reliable.

And importantly, we should resist adding more features unless they directly improve those four goals.

BUILD 3 — NAVIGATION & CROSS-LINK ARCHITECTURE

This is probably the most important remaining build.

Right now, our content is essentially hierarchical:

8 Mechanical
→ 8.5 HVAC Ductwork
→ Requirements
→ Planning
→ Documents
→ Materials
→ Inspection
→ Records
→ NC
→ Corrective Action
→ Verification
→ Closure
→ Reporting

That's excellent for learning.

But construction itself isn't hierarchical.

A duct passing through a wall suddenly involves:

HVAC + structure + architectural wall + firestop + acoustic requirements + access + possibly envelope + closeout.

So Build 3 makes the hierarchy into a network.

3.1 Keep the existing main navigation

The main structure remains exactly what we built:

Sitework & Earthworks
Substructure
Superstructure
Building Envelope
Roofing
Interior Architectural
Finishes
Mechanical
Electrical
Fire & Life Safety
Multidisciplinary Interfaces
External Works
Testing & Commissioning
Closeout

Simple.

We do not replace this.

3.2 Add RELATED WORKS to every activity

This becomes a standardized block.

For example:

HVAC Ductwork

Related Works

↔ Structural → Openings & supports
↔ Architectural → Ceilings
↔ Fire/Life Safety → Fire/Smoke Dampers
↔ Fire/Life Safety → Firestopping
↔ Multidisciplinary → Penetrations
↔ Multidisciplinary → Access & Maintainability
↔ Testing → Mechanical Testing

Every one is clickable.

And critically, the relationships work both ways.

If you arrive through:

Firestopping

you can jump back to:

HVAC Ductwork.

3.3 Add INTERFACES

Related works and interfaces aren't quite the same thing.

Related Works tells you where else to look.

Interfaces tells you what relationship needs attention.

Example:

Roof Drain

Interfaces

Roofing ↔ Mechanical

- membrane termination;

- drain flange;

- waterproofing continuity.

Mechanical ↔ Structural

- opening;

- support.

Roofing ↔ Insulation

- drainage slope;

- insulation continuity.

That's much more useful than simply saying "See Mechanical."

3.4 Add UPSTREAM / DOWNSTREAM

This could be extremely powerful while remaining simple.

Every major activity gets:

BEFORE THIS

What normally needs to happen first?

AFTER THIS

What normally happens next?

Example:

Gypsum Board

Before this

← Framing
← Backing
← MEP rough-in
← Insulation
← Firestopping
← Required inspections

After this

→ Joint finishing
→ Painting
→ Fixtures
→ Final deficiencies

Now you're thinking about sequence, not merely compliance.

3.5 Add PRE-CONCEALMENT relationships

Anything that becomes inaccessible gets flagged:

⚠ PRE-CONCEALMENT

Before closing this assembly, cross-check:

↔ Electrical rough-in
↔ Mechanical rough-in
↔ Firestop
↔ Insulation
↔ Backing
↔ Photos/records

This should exist for:

- concrete;

- trenches;

- walls;

- ceilings;

- shafts;

- roofing;

- underground services;

- enclosed structural connections.

3.6 Cross-link testing

Installation modules should point toward their eventual tests.

For example:

Domestic Water

Installation
↓
Pressure Test
↓
Flushing
↓
Commissioning
↓
Acceptance

Likewise, the test page points back to installation.

3.7 Cross-link deficiencies

Every activity should link to the universal issue-management process:

Issue detected? → Deficiency / NC workflow

We don't need to rewrite NC procedures 50 times.

One universal workflow, referenced everywhere.

3.8 Cross-link multidisciplinary interfaces

Section 11 becomes essentially the central junction.

For example:

11.7 Penetrations

links outward to:

- structure;

- envelope;

- roofing;

- mechanical;

- electrical;

- firestop;

- finishes.

And all those sections link back to 11.7.

That's exactly the back-and-forth navigation you were describing.

BUILD 3 DELIVERABLE

At the end we should have a Cross-Link Matrix.

Something like:

| Activity | Before | After | Interfaces | Related QC | Testing |
| --- | --- | --- | --- | --- | --- |
| Concrete Pour | Rebar/Embeds | Curing | M/E | Structure | Concrete tests |
| Wall Closure | Rough-ins | Gypsum | M/E/Fire | Firestop | — |
| Roof Penetration | Opening | Flashing | M/E/Envelope | Roofing | Envelope test |
| Equipment Install | Base | Startup | M/E/Structural | Access | Commissioning |

That becomes the underlying navigation logic.

BUILD 4 — BILINGUAL KNOWLEDGE SYSTEM

I would not translate our entire giant guide manually paragraph by paragraph.

That would consume a ridiculous amount of time and make maintenance difficult.

Instead, we build a terminology layer.

4.1 Three display modes

ENGLISH

Reinforcement
Concrete cover
Lap splice

BILINGUAL

Reinforcement / Armatures
Concrete cover / Enrobage
Lap splice / Recouvrement

FRANÇAIS

Armatures
Enrobage
Recouvrement

You can change modes instantly.

4.2 Build a construction QC glossary

Organized by discipline.

Concrete

Reinforcement → Armatures
Concrete cover → Enrobage
Formwork → Coffrage
Concrete pour → Coulée de béton
Curing → Cure

Quality

Deficiency → Déficience
Non-conformance → Non-conformité
Corrective action → Action corrective
Inspection → Inspection
Hold point → Point d'arrêt

Mechanical

Ductwork → Conduits / réseau de conduits
Damper → Registre
Hanger → Support / suspension

etc.

And because you're working in Québec, we should prioritize actual Québec construction terminology, not blindly translate English.

4.3 Search should understand both languages

This is important.

Search:

armatures

and get:

Reinforcement.

Search:

rebar

same result.

Search:

barres d'armature

same result.

Likewise:

deficiency
déficience
punch item

can lead toward the appropriate concept.

4.4 Bilingual cross-referencing

You might be reading:

Firestop

and hear someone say:

calfeutrement coupe-feu.

You search that French terminology and arrive at the same universal Firestopping page.

That's the real value.

4.5 Acronyms

We should also include:

PIE
PRIE
ITP
NCR / NC
QMT
RFI
TQC
O&M
BAS

with English/French meanings where appropriate.

BUILD 4 DELIVERABLE

A Construction Quality EN–FR Terminology Database, linked directly to the universal QC content.

Not two separate manuals.

One knowledge base, two languages.

BUILD 5 — FIELD PRESENTATION

Build 5 answers:

How do we prevent this enormous knowledge base from being annoying on a construction site?

Because you're not going to stand beside an electrician and read 1,500 words about conduit inspection. 😂

So we introduce depth levels.

5.1 QUICK MODE

This is your normal field screen.

Example:

FIRESTOP

Before

☐ Approved system
☐ Penetration identified
☐ Opening acceptable
☐ Correct product

Inspect

☐ Penetrating item
☐ Annular space
☐ Backing
☐ Required depth
☐ Complete seal
☐ Identification

Evidence

☐ Location
☐ System reference
☐ Photo before concealment

Interfaces

↔ Wall
↔ Mechanical
↔ Electrical

Status

🟢 Accept
🟡 Review
🔴 Issue

That's probably what you'd actually use 80% of the time.

5.2 FULL MODE

Tap:

Full Inspection

Now you get our complete framework:

Requirements → Planning → Document Control → Material Control → Inspection/Test → Records → NC → Corrective Action → Verification → Closure → Reporting

This is for:

- important inspection;

- unfamiliar work;

- high-risk activity;

- preparation.

5.3 LEARN MODE

This contains:

- explanation;

- purpose;

- terminology;

- examples;

- common failures;

- practical examples;

- why each item matters.

That's where most of the detailed material we've created lives.

So we haven't wasted any of it.

We're simply hiding it until needed.

5.4 ACTIVITY MODE

Instead of asking:

“What discipline?”

you can ask:

WHAT ARE YOU DOING?

Concrete Pour

Wall Closure

Roof Inspection

Pressure Test

Equipment Installation

Firestop Inspection

Deficiency Walk

Commissioning

Selecting Concrete Pour combines multiple modules.

That is extremely useful.

5.5 PRE-CONCEALMENT MODE

Large shortcut:

⚠ BEFORE CLOSING

Select:

Wall

App gives:

☐ framing
☐ backing
☐ insulation
☐ electrical rough-in
☐ mechanical rough-in
☐ penetrations
☐ firestop
☐ required tests
☐ photographs

This could become one of your most-used tools.

5.6 “WATCH FOR” BOX

Every Quick Mode page gets:

⚠ WATCH FOR

For roofing:

- wet substrate;

- punctures;

- bad laps;

- damaged flashing;

- poor termination;

- incompatible sealant.

For concrete:

- displaced rebar;

- insufficient cover;

- missing embeds;

- segregation;

- poor consolidation.

This trains your visual attention.

5.7 “DON'T MISS” BOX

Even shorter:

❗ DON'T MISS

Anything about to be concealed.

or

Confirm required electrical specialist acceptance.

or

Verify membrane continuity around penetration.

This is basically the one thing most likely to bite you later.

5.8 QUALITY THINK

I still strongly recommend this.

A small button:

QC THINK

When you feel uncertain, it shows:

What governs this?

What could become hidden?

What other trade does this affect?

What evidence proves compliance?

What happens immediately after I accept it?

That develops your professional reasoning instead of making you dependent on checklists.

BUILD 5 DELIVERABLE

Every activity ends up having essentially:

QUICK | FULL | LEARN

with:

Related Works | Interfaces | Before/After | Watch For | Evidence

That's enough.

BUILD 6 — POLISH, SEARCH & USABILITY

Now we stop adding knowledge.

Build 6 asks:

Can Emmanuel actually use this quickly while walking around a construction site?

This is basically quality control of our quality-control system.

6.1 Search

Search needs to be excellent.

You type:

roof pipe

Results:

Roof Penetrations
Mechanical Penetrations
Roofing Membrane
Flashing
Sealants

Search:

fire wall conduit

Results:

Firestopping
Fire-Rated Walls
Electrical Penetrations
Multidisciplinary Penetrations

6.2 Favorites

⭐ Concrete Pre-Pour
⭐ Firestop
⭐ Mechanical Testing
⭐ Electrical Installation
⭐ Deficiencies

One tap.

6.3 Recently Viewed

You're inspecting the same work repeatedly.

No need to navigate from the home page every time.

Recent

Firestop
Cable Tray
Wall Closure
HVAC Equipment

6.4 Breadcrumbs

Always know where you are:

Mechanical > HVAC > Ductwork > Supports

Tap any part to move backward.

6.5 Related navigation

At the bottom:

← Previous

Related Works

Next →

and:

↑ Parent System

Simple.

6.6 Search synonyms

The system should recognize:

rebar = reinforcement = reinforcing steel = armatures

and:

drywall = gypsum board = plaque de plâtre / panneau de gypse

This becomes particularly important for bilingual use.

6.7 Offline capability

The universal guide should require no internet connection for its main functions.

Very important for site use.

6.8 Mobile/tablet-first design

Large buttons.

Minimal typing.

No tiny menus.

No giant paragraphs unless Learn is selected.

Ideally usable with one hand.

6.9 Dark/light display

Useful, but low priority.

We don't waste this weekend on cosmetics until functionality works.

6.10 Performance

Pages should load essentially instantly.

The whole reason we're building this is:

See work → open app → find activity → know what to check.

If that takes 90 seconds, you're eventually going to stop using it.

6.11 FIELD SIMULATION

This is the most important part of Build 6.

We test the application against realistic scenarios.

For example:

Scenario 1

“They're pouring an equipment pad in 45 minutes.”

Can you reach the correct workflow immediately?

Does it remind you about:

- drawing;

- concrete;

- reinforcement;

- anchors;

- embeds;

- electrical/mechanical interface;

- testing?

Scenario 2

“Electrician just installed conduit through rated wall.”

Can you go:

Electrical → Penetration

and immediately jump:

Firestop → Rated Wall → Multidisciplinary Penetrations?

Scenario 3

“They're closing the ceiling.”

Can you immediately find:

Pre-Concealment → Ceiling

and cross-check:

MEP + firestop + access + testing + photos?

Scenario 4

“Pressure test failed.”

Can you reach:

Testing → Failed Test

and see:

control → document → correct → reinspect → retest → accept → close?

If those scenarios are smooth, we've succeeded.

6.12 REMOVE THINGS

Build 6 should actually involve deleting things.

Anything that:

- adds clicks;

- duplicates information;

- doesn't help field decisions;

- creates confusion;

- makes pages crowded;

gets removed or hidden.

That's how we prevent this from becoming the giant monster you're worried about.

FINAL ARCHITECTURE

So by the end, I envision the app opening to something approximately this simple:

BÂTIR QC

🔎 Search

BROWSE

Construction Systems

FIELD

Quick Inspection

ACTIVITY

What's happening?

CRITICAL

Before Concealment

REFERENCE

Testing & Closeout

⭐ Favorites

And one little toggle:

EN | EN/FR | FR

That's it.

Behind those six simple doors sits the enormous system we've built.

And I would prioritize the remaining work like this

Build 3 — Cross-links/navigation: CRITICAL

Without it, we have a digital textbook.

Build 4 — EN/FR: HIGH

Very useful for your transition into a French-speaking construction environment.

Build 5 — Quick/Full/Learn: CRITICAL

This transforms the manual into a field tool.

Build 6 — Search/usability/testing: CRITICAL

This determines whether you'll actually continue using it after the novelty wears off.

There is one thing I would change in the order, however.

I would actually execute them:

Build 3 → Build 5 → Build 4 → Build 6

because navigation and field usability should be solved before we spend time translating terminology. Once the interface and content structure are stable, we know exactly what terminology needs bilingual mapping.

And after Build 6, we stop building and you start studying/using it. Any subsequent improvements should come from actual experience on site rather than us sitting here imagining another 50 features.

I would do it in a strict sequence so we don't create technical debt before coding:

- Canonical activity registry — freeze every activity ID from 1.1 through 14.15, with one official English name, French name, section, and activity type. No duplicate concepts under different names.

- Canonical relationship registry — take all the links we just developed and convert them into one machine-readable model using only the frozen relationship types: PREREQUISITE, NEXT, INTERFACE, GATE, PRE-CONCEALMENT, TEST, DEFICIENCY, NC, EVIDENCE, ACCESS, PENETRATION, AS-BUILT, COMMISSIONING, TURNOVER, and INVALIDATES.

- Directionality rules — explicitly determine which relationships are directional. For example, 3.1 → 13.x TEST has a direction, while 8.5 ↔ 10.4 INTERFACE is reciprocal. This prevents the app from producing nonsensical navigation.

- Gate registry — consolidate the gates we've discovered across the entire system: pre-pour, pre-concealment, pre-backfill, testing readiness, equipment commissioning readiness, life-safety readiness, final turnover, etc. Each gets a unique ID, trigger, prerequisites, blocking conditions and release condition.

- Global status model — define exactly what Not Started, Ready, In Progress, Hold, Deficiency, NC, Awaiting Test, Failed, Correction Required, Retest Required, Accepted, Closed, etc. actually mean. More importantly, establish which transitions are permitted.

- Invalidation logic — establish what later work can reopen previously accepted work. This is essential for penetrations, fire-rated assemblies, envelope work, relocated equipment, revised drawings, failed tests and technical changes.

- Common activity-page schema — freeze the data structure every technical activity inherits:

Requirements → Planning → Document Control → Material Control → Inspection/Test → Records → NC/Deficiency → Corrective Action → Verification → Closure → Reporting/Analysis → Quality Checkpoints

plus the Build 3 navigation layer: